## Slide 1
Process Equipment Design Laboratory AUTh
Energy efficiency of Demo Houses and Naval Academy: Simulation Results
Prof. Agis Papadopoulos
Dr. Effrosyni Giama
On behalf of PEDL RESEARCH TEAM
fgiama@auth.gr
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100

## Slide 2
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFE VISIONS
Strong linkage between energy and environmental policies
The EU should be climate neutral by 2050
Reaching this target will require action by all sectors of our economy, including
• investing in environmentally-friendly technologies
• supporting industry to innovate
• rolling out cleaner, cheaper and healthier forms of private
and public transport
• decarbonising the energy sector
• ensuring buildings are more energy efficient
• working with international partners to improve global
environmental standards
The European Green Deal

## Slide 3
Key pillars in EU Energy Policy for Buildings
Energy Efficiency
Renewable Energy
Energy Performance
Decarbonisation
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100

## Slide 4: Methodology in brief
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
Measurements – Simulations in Demo Houses and in real scale application in Naval Academy
Simulations with DesignBuilder and Contam
LIFE VISIONS
  Energy consumption
  CO2 emissions
  Thermal comfort
  The target was to identify the correlation of ventilation rates and photocatalysis (ventilation is related to energy consumption).
  Indirect reduction of energy consumption because of the ventilation rate reduction.

## Slide 5: Indoor conditions measurement equipment
System | Measurements | Measurement equipment
DEMO HOUSES | Air temperature | Comfort and air quality conditions using testo 480 and the necessary sensor probes (temperature, radiant temperature, relative humidity, CO2, air velocity, pmv/ppd) HOBO MX1102 (temperature, relative humidity, CO2). The installation and methodology is based on the international standards ISO 7726:1998 and ASHRAE 55
 | Relative Humidity | 
 | Air velocity | 
 | Radiant temperature | 
 | PMV/PPD | 
 | CO2 | 
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS

## Slide 6: Indoor conditions data loggers
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS

## Slide 7: A. Simulation - Demo Houses
  Parameters:
  Mechanical ventilation (ASHRAE 62.1)
  Natural ventilation
  Photocatalysis
  Output data:
  Energy consumption
  CO2 emissions
  NOx emissions
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS

## Slide 8
Envelope design
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
HVAC systems
A. Simulation - Demo Houses
LIFE VISIONS

## Slide 9: A. Simulation scenarios - Demo Houses
Scenario | Scenario description | Ventilation m3/h, Air changes per hour | Concentration ΝΟ,ΝΟ2,CO2 | Pollutants reduction efficiency
Baseline | Conventional without photocatalysis and not adequate mechanical ventilation | 17.57 m3/h, 0.74 ACH | NO:27μg/m3 NO2:32μg/m3 CO2:455 ppm | 
1 | Photocatalysis and mechanical ventilation | 17.57 m3/h, 0.74 ACH | NO:10μg/m3 NO2:12.6μg/m3 CO2:455 ppm | NO:63% NO2:60.6%
2 | Increased mechanical ventilation in order to accomplish the same emission reduction as with photocatalysis | 151.2m3/h, 6.36 ACH | NO:10.7μg/m3 NO2:12.9μg/m3 CO2:400 ppm | NO:60.3% NO2:59.6%
3 | Maximum of natural ventilation | 72.68m3/h, 3 ACH | NO:14μg/m3 NO2:17μg/m3 CO2:447 ppm | NO:48% NO2:46.8%
4 | Night ventilation | 35.2m3/h, 1.5 ACH 7:00 p.m-17:00a.m. 151.2m3/h, 6.36 ACH | NO:15.1μg/m3 NO2:18.1μg/m3 CO2:419.4 ppm | NO:44.1% NO2:43.4%
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS
18

## Slide 10: A. Simulation results - Demo Houses
Chart: 
| SC1 | SC2 | SC3 | SC4
Cooling Loads (kWh) | 130.71 | 287.01 | 155.5 | 173.86
Final Energy Conspumption (kWh) | 37.35 | 84 | 44.42 | 49.67
CO2 Emissions (Kg) | 30.25 | 73.22 | 35.98 | 44.2
 | Cooling Loads (kWh) | Final Energy Conspumption (kWh) | CO2 Emissions (Kg)
SC1 | 130,71 | 37,35 | 30,25
SC2 | 287,01 | 84 | 73,22
SC3 | 155,5 | 44,42 | 35,98
SC4 | 173,86 | 49,67 | 44,2
The issue is to find the scenario that can achieve the same emissions reduction as with photocatalysis with the least energy consumption in regards to ventilation.
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS

## Slide 11
B. Simulation – Naval Academy
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS

## Slide 12
Naval academy-VRF (Variable Refrigerant Flow) system simulation
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS
B. Simulation – Naval Academy

## Slide 13
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
LIFE VISIONS
SC1 (without photocatalysis) the energy consumption reaches 544103.64 kWh and 236.76 kWh/m2 of conditioned building area. Increased ventilation rate.
SC2 (with photocatalysis) and people density reduced by 20%.
Reduced people density – reduction to ventilation rate. Energy consumption reaches 488796.48 kWh and 212.69 kWh/m2 of conditioned building area.
SC3 (with photocatalysis reduce more the people density).
Energy consumption reaches 447965.8 kWh and 194.93 kWh/m2 of conditioned building area.
B. Simulation Results – Naval Academy

## Slide 14
  There is a correlation of ventilation rates and photocatalysis (ventilation is related to energy consumption).
  The simulations determined significant energy consumption reduction compared to the conventional scenario (without photocatalysis) because of the ventilation rate reduction (given as a fact that we want specific ventilation rate to reduce pollutants concentration).
  The results in real scale application showed a correlation of ventilation rates and photocatalysis (ventilation is related to energy consumption). The simulations determined about 11 – 22% energy reduction compared to the conventional scenario (without photocatalysis) because of the ventilation rate reduction. The ventilation rate was determined by the occupancy in the photocatalytic scenarios.
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
Key Results & Discussion
LIFE VISIONS

## Slide 15
The project has received funding from the LIFE Programme of the European Union under GA number LIFE19 ENV/GR/000100
LIFEVISIONS
THANK YOU!
LIFE VISIONS
https://lifevisions.gr/